## Boiler-Weil-McLain-LGB
| Width##LENGTH##INCHES | Voltage##ELECTRICAL_POTENTIAL##VOLTS | Supply##PIPE_SIZE##INCHES | Return##PIPE_SIZE##INCHES | Gas Connection Size##PIPE_SIZE##INCHES | Draft Hood Outlet##PIPE_SIZE##INCHES | Power Factor##OTHER## | Product Name##OTHER## | Phase##OTHER## | Number of Poles##OTHER## | Model##OTHER## | Net IBR##HVAC_HEAT_GAIN##BRITISH_THERMAL_UNITS_PER_HOUR | Gross IBR##HVAC_HEAT_GAIN##BRITISH_THERMAL_UNITS_PER_HOUR | Gas Net IBR##HVAC_HEAT_GAIN##BRITISH_THERMAL_UNITS_PER_HOUR | Boiler Horsepower##OTHER##
LGB-4 - Water Boiler | 21 | 120 | 2 | 2 | 1 | 10 | 1 | LGB-4 - Water Boiler | 1 | 1 | LGB-4 | 282000 | 324000 | 400000 | 9.7
LGB-5 - Water Boiler | 26 | 120 | 2.5 | 2.5 | 1 | 12 | 1 | LGB-5 - Water Boiler | 1 | 1 | LGB-5 | 366000 | 421000 | 520000 | 12.6
LGB-6 - Water Boiler | 31 | 120 | 3 | 3 | 1 | 12 | 1 | LGB-6 - Water Boiler | 1 | 1 | LGB-6 | 458000 | 527000 | 650000 | 15.7
LGB-7 - Water Boiler | 36 | 120 | 3 | 3 | 1 | 14 | 1 | LGB-7 - Water Boiler | 1 | 1 | LGB-7 | 549000 | 632000 | 780000 | 18.9
LGB-8 - Water Boiler | 41 | 120 | 3 | 3 | 1 | 14 | 1 | LGB-8 - Water Boiler | 1 | 1 | LGB-8 | 641000 | 737000 | 910000 | 22
LGB-09 - Water Boiler | 46 | 120 | 4 | 4 | 1 | 16 | 1 | LGB-09 - Water Boiler | 1 | 1 | LGB-09 | 733000 | 842000 | 1040000 | 25.2
LGB-10 - Water Boiler | 51 | 120 | 4 | 4 | 1.25 | 16 | 1 | LGB-10 - Water Boiler | 1 | 1 | LGB-10 | 824000 | 948000 | 1170000 | 28.3
LGB-11 - Water Boiler | 56 | 120 | 4 | 4 | 1.25 | 16 | 1 | LGB-11 - Water Boiler | 1 | 1 | LGB-11 | 916000 | 1053000 | 1300000 | 31.5
LGB-12 - Water Boiler | 61 | 120 | 4 | 4 | 1.25 | 12 | 1 | LGB-12 - Water Boiler | 1 | 1 | LGB-12 | 1007000 | 1158000 | 1430000 | 34.6
LGB-4 - Steam Boiler | 21 | 120 | 2 | 4 | 1 | 10 | 1 | LGB-4 - Steam Boiler | 1 | 1 | LGB-4 | 282000 | 324000 | 400000 | 9.7
LGB-5 - Steam Boiler | 26 | 120 | 2 | 4 | 1 | 12 | 1 | LGB-5 - Steam Boiler | 1 | 1 | LGB-5 | 366000 | 421000 | 520000 | 12.6
LGB-6 - Steam Boiler | 31 | 120 | 2 | 4 | 1 | 12 | 1 | LGB-6 - Steam Boiler | 1 | 1 | LGB-6 | 458000 | 527000 | 650000 | 15.7
LGB-7 - Steam Boiler | 36 | 120 | 2 | 4 | 1 | 14 | 1 | LGB-7 - Steam Boiler | 1 | 1 | LGB-7 | 549000 | 632000 | 780000 | 18.9
LGB-8 - Steam Boiler | 41 | 120 | 2 | 4 | 1 | 14 | 1 | LGB-8 - Steam Boiler | 1 | 1 | LGB-8 | 641000 | 737000 | 910000 | 22
LGB-09 - Steam Boiler | 46 | 120 | 2.5 | 5 | 1 | 16 | 1 | LGB-09 - Steam Boiler | 1 | 1 | LGB-09 | 733000 | 842000 | 1040000 | 25.2
LGB-10 - Steam Boiler | 51 | 120 | 2.5 | 5 | 1.25 | 16 | 1 | LGB-10 - Steam Boiler | 1 | 1 | LGB-10 | 824000 | 948000 | 1170000 | 28.3
LGB-11 - Steam Boiler | 56 | 120 | 2.5 | 5 | 1.25 | 16 | 1 | LGB-11 - Steam Boiler | 1 | 1 | LGB-11 | 916000 | 1053000 | 1300000 | 31.5
LGB-12 - Steam Boiler | 61 | 120 | 2.5 | 6 | 1.25 | 12 | 1 | LGB-12 - Steam Boiler | 1 | 1 | LGB-12 | 1007000 | 1158000 | 1430000 | 34.6